ATIC Accessibility

To support the accessible community in making informed travel decisions for their individual needs

This report prepared for:

| Business name: | Geronimo Rottnest |
| --- | --- |
| Address: | Rottnest Island Airport |
| Town: | Rottnest |
| Contact for enquiries: | Amy Stutt |
| Contact Number: | 0420 438 323 |
| Contact Email: | skydive@skydivegeronimo.com.au |
| Website: | www.skydivegeronimo.com.au |
| Date: | 2026-06-17 13:57 |

ATIC Accessibility

The following pages provides travellers with information on the businesses facilities and amenities which aims to support the traveller to make an informed decision on whether the business is suitable for their individual needs.

OVERVIEW	
          4

Business Overview	
          4

Bookings	
          4

Emergency Management	
          4

Guide Dog and Service Animals	
          5

GENERAL	
          6

Pre-arrival, arrival and reception	
          6

Entry	
          6

Internal Spaces	
          7

Public areas	
          7

External Paths	
          7

Public Toilets/Adult change facilities	
          7

TOUR OPERATORS	
          9

Guides	
          9

ADVENTURE ACTIVITIES	
          10

Adventure activities	
          10

Report Disclaimer	
          12

# OVERVIEW

## Business Overview

The business has the following products/services available

- Tour/Transport

- Adventure

Our business caters for the following disability types:

- Blind or low vision

- Deaf or low hearing

## Bookings

The business offers the following methods for bookings and enquiries:

- Phone

- Email

- Webportal

## Emergency Management

- Emergency and evacuation procedures are explained on arrival

- There are visual device/s to alert occupants to evacuate.

- Exit signs are clear and easy to see

- Exit access is free and clear at all times

We ensure exit access is free and clear at all times by:

Staff Training

- Exits and access to exists are greater than 900mm

- Exit doors are able to be opened by all occupants

- Exits to the emergency evacuation point does not include stairways

- The evacuation point is clearly marked by a sign

- The evacuation point is clearly marked by a sign with raised letters or braille

The business identifies guests who need additional assistance should an emergency occur by:

Special needs requests are accepted from guests at the time of booking

The procedure for assisting guests who need assisted rescue is:

Internal procedures / A member of staff (Drop Zone Safety Officer) is allocated to this task

- Guests with disabilities are noted in the guest log book for emergency and evacuation purposes

## Guide Dog and Service Animals

- The business provides a secure area with shade and water for service animals

- The business provides a toilet area for service animals

The business provides the following services for services animals:

Not specified

# GENERAL

## Pre-arrival, arrival and reception

The business has the following in place to support guests during pre-arrival, arrival and reception

- There is a reception/public entryway.

- Seating available at reception

- A clipboard to allow check-in/ticket purchase whilst seated

- A tablet with text to voice or pen and paper at reception to aid in communication

- Picture Board at reception to aid in communication

- Lighting in the reception area is even and glare free

- Information and maps are available in written form

- In addition, the following further information can assist guests:

Given the nature of our activity, none are available.

- In addition, the following further information can assist guests:

We welcome all guests with disabilities to our check-in location at the Rottnest Island Airport. This includes spectating family and friends of those participating in a skydiving experience. However, please read through the available information in the 'Adventure' section of this document to find out if participating in a skydiving experience is safe and possible for you.We operate a transport vehicle for spectators, which departs regularly from the check-in location at the Rottnest Island Airport to the designated beach landing area, and return. Our 3 x beach landing areas (determined by the direction of the wind on the day) offer very limited accessibility to wheelchair users or&nbsp;those with limited mobility.

- In addition, the following further information can assist guests:

Car parking is unavailable, as we are located on Rottnest Island in Western Australia. Car movements are limited on the island.Generally, guests make their way to our location at the Rottnest Island Airport by walking or riding a bike. Guests with physical disabilities or limited mobility are encouraged to utilise the Quokka Coaches Shuttle Bus (https://www.rottnestisland.com/visit/getting-around/by-bus).

## Entry

The business has the following amenities/systems in place for entry

- A drop off point close to the entrance

- A path of access to the building is slip resistance and even

- A path of access to the building is clear of obstruction

- Glass doors are fitted with a visual sighting strip

- The entry door is a minimum of 850mm wide

- The entrance sill is less than 13mm

- There a clear space of at least 1500mm x 1500mm in front of all doors.

## Internal Spaces

- Clear and unobstructed routes through and between buildings

- Interior walls are matte or low sheen

- Floors, walls, counters and furniture are of contrasting colours

- Floor surfaces are hard or short pile carpet

- Seating is available for guests unable to stand for long periods

- Accessible facilities are clearly signed and visible from all areas

- All corridors greater than 900mm

## Public areas

The public areas have the following amenities  in place

- Even lighting

- Seating

## External Paths

External paths of travel

- Surfaces are concrete, asphalt, smooth paving or hard packed fine gravel (max aggregate size 13mm)

- Pathways are wider than 900mm

No steps

All paths are wheelchair accessible

## Public Toilets/Adult change facilities

Public Toilets/Adult change facilities have the following amenities are in place

- There is an accessible toilet for public use

- The door is at least 850mm wide

- There is a minimum of 850mm beside the toilet

- Handrails are fitted

- The toilet seat is 460mm above the floor

- There is 1400mm mm of clear space in front of the toilet

- The toilet seat is460mm above the floor

# TOUR OPERATORS

## Guides

- Use of clear/simple English

- Correct pronunciation for lip readers

# ADVENTURE ACTIVITIES

## Adventure activities

The adventure activities have the following facilities/amenities in place

- Our adventure activities cater for people with a disability

- In addition, the following further information can assist guests:

Tandem skydiving is available for guests with hearing or vision impairments, as well as those with intellectual disabilities. Please get in touch with Skydive Geronimo via phone or email to discuss your individual needs, allowing us to complete a safety assessment before confirming your booking.

- In addition, the following further information can assist guests:

No specific equipment is available.

- In addition, the following further information can assist guests:

For safety reasons, wheelchair users and individuals with physical disabilities are generally unable to participate in skydiving. In the rare event of an emergency water landing, guests must be able to put on a life jacket and swim. The Australian Parachute Federation (the governing body for skydiving in Australia) also requires that participants demonstrate the ability to lift their legs for a parachute landing. Additionally, some remote beach landing areas involve long walks on paths that are not wheelchair accessible. If you’d like to discuss whether skydiving is possible for you, please contact us with your specific requirements.&nbsp;

## Report Disclaimer

Please note that this business report, provided as a result of the use of the diagnostic assessment, is for information purposes only.

Australian Tourism Industry Council (ATIC) cannot guarantee the accuracy of respondent’s answers, or that they are fully representative of your business. Therefore, ATIC does not warrant or guarantee any particular outcome in respect of your businesses self-assessment.

This report is intended as guidance only for your business and should not be relied on for future marketing considerations. ATIC recommends that you seek your own independent advice as well as the results from the diagnostic.

Links to external web sites are inserted for convenience and do not constitute endorsement of material at those sites, or any associated organisation, product or service.

ATIC does not:

- Assume any legal liability for the accuracy, completeness, or usefulness of any information from this report or any links provided; or

- Accept responsibility for any loss associated directly or indirectly from the use of this report.